PRELAB FOR EXPERIMENT # 1: DETERMINATION OF MELTING POINTS

Your name						TA’s name

Your Partner’s name					Lab Section

PURPOSE:

In this lab we will learn to 1) find the purity of solids by measuring their melting points.  2) identify an unknown by performing a mixture melting point.

MATERIALS USED:

| # Compound | M.W. (g/mol) | M.P. (oC) | Density (g/ml) | Hazards |
| --- | --- | --- | --- | --- |
| Urea | 60.055 | 135 | 1.335 | irritant |
| Trans-cinnamic acid | 148.161 | 133 | 1.248 | irritant |

Packing the solid in a melting point capillary tube

- Take a small amount of urea and trans-cinnamic acid in two separately labeled watch glasses.  Make sure that the samples are finely powdered (with the use of a metal spatula).

- Gently tap in some of the solid into the open end of a thin-walled capillary tube (6-7 mm of solid should do it).

- Invert the capillary tube (open end facing up) and drop the tube down a long glass tube.  Repeat procedure several times till solid is packed tightly at the closed end of the thin-walled capillary tube.

a.	Measuring the melting points of pure urea and pure trans-cinnamic acid

  - Turn on the melting point apparatus.  Make sure that the apparatus has cooled to ~ 115 oC before placing the capillary tubes in the melting point apparatus.

  - Raise the temperature of the melting point apparatus so that the rate of heating is slow during the melting of the solid (1-2 degrees/min).

  - Report the melting range (i.e. the temperature at which the solid just begins to melt and the temperature at which all the solid has melted) for both pure urea and pure trans-cinnamic acid

b.	Measuring the melting range of urea and trans-cinnamic acid

- Weigh equal amounts of pure urea and trans-cinnamic acid (~ 60 mg of each substances should do it).

- Mix the two compounds together and make sure that the mixture is finely powdered (with the use of a metal spatula).

- Pack some of the mixture in a thin-walled capillary tube.

- Report the melting range of the mixture (50:50) of urea and trans-cinnamic acid.  Make sure that the melting point apparatus has cooled down to ~100 oC before placing the capillary tubes in the melting point apparatus.

c.	Measuring the melting point of unknown

- Repeat same protocol given in part (a)

- Report the melting range (i.e. the temperature at which the solid just begins to melt and the temperature at which all the solid has melted) for the unknown

- Determining the melting range of a mixture of your unknown and urea and of a mixture of your unknown and trans-cinnamic acid.

- Weigh equal amounts of pure urea and trans-cinnamic acid (~ 60 mg of each substances should do it).

- Likewise weigh equal amounts of your unknown into two separate watch glasses.

- Add the pre-weighed urea to one watch glass containing your unknown.  Then add the trans-cinnamic acid to the other watch glass.

- Mix each of the components and obtain their melting points.